1. Energy Systems Basics	1

2. Hydrogen Technology Fundamentals	1

3. Economics & Financial Analysis	2

4. Energy Policy & Regulation	2

5. Strategic & Analytical Frameworks	2

6. Systems Thinking & Sustainability	3

# Fundamentals to Teach Before Tackling the Case Study

# 1. Energy Systems Basics

- Solar PV Fundamentals

  - How solar panels generate electricity (irradiance, efficiency, kWh/kWp).

  - Seasonal variation in solar generation in Germany/Europe.

- Electricity Demand in Homes

  - Typical household load profiles (day vs. night, summer vs. winter).

  - Role of heat pumps, EV charging, appliances.

- Storage Options Overview

  - Short-term (batteries, chemical storage) vs. long-term (hydrogen, thermal).

  - Comparison of round-trip efficiency across options:

    - Lithium-ion ≈ 85–90%

    - Hydrogen electrolysis + storage + fuel cell ≈ 30–40%.

# 2. Hydrogen Technology Fundamentals

- Electrolysis Principles

  - Proton Exchange Membrane (PEM) vs. Alkaline electrolyzers.

  - Energy input required (kWh/kg H₂).

- Hydrogen Storage

  - Pressurized tanks (200–700 bar), safety considerations.

  - Volumetric vs. gravimetric density.

- Fuel Cell Basics

  - PEM fuel cells for reconversion.

  - Electrical efficiency and waste heat recovery.

- System Integration

  - How PV → electrolyzer → H₂ → storage → fuel cell closes the loop.

  - Role of combined heat & power (CHP).

# 3. Economics & Financial Analysis

- CapEx & OpEx Concepts

  - Capital costs of PV, electrolyzer, storage, fuel cell.

  - Operating & maintenance costs.

- Levelized Cost Metrics

  - LCOE (Levelized Cost of Electricity): For PV.

  - LCoS (Levelized Cost of Storage): For hydrogen and batteries.

- Payback Period & IRR (Internal Rate of Return)

  - How to calculate breakeven time for an energy system.

  - Sensitivity analysis (impact of subsidies, electricity price, efficiency).

- Comparative Costing

  - Grid electricity vs. PV+battery vs. PV+H₂.

# 4. Energy Policy & Regulation

- German/EU Energy Policy Landscape

  - Gebäudeenergiegesetz (GEG) – Building Energy Act.

  - KfW Programs – financing for renewable housing.

  - EU Fit-for-55 – hydrogen and decarbonization targets.

- Carbon Pricing & Incentives

  - How CO₂ pricing changes competitiveness of clean energy.

  - Subsidies, feed-in tariffs, net metering.

- Safety & Standards

  - Hydrogen storage safety in residential zones.

  - Regulatory hurdles for adoption.

# 5. Strategic & Analytical Frameworks

- SWOT Analysis → Evaluate HPS’s Strengths, Weaknesses, Opportunities, Threats.

- PESTLE Analysis → Political, Economic, Social, Technological, Legal, Environmental factors.

- Value Chain Analysis → Identify bottlenecks (production, installation, servicing).

- Technology Adoption Curve → Innovators → Early adopters → Majority → Laggards.

# 6. Systems Thinking & Sustainability

- Circular Economy Perspective

  - Lifecycle analysis: materials for electrolyzers, fuel cells, PV.

  - Recycling potential vs. environmental impacts.

- Resilience & Security

  - Energy independence as a strategic driver.

  - Cybersecurity and grid resilience considerations.

# Teaching Approach

- Lectures/Demos: PV generation, hydrogen cycle, efficiency.

- Workshops: LCoS & payback calculations (Excel exercises).

- Readings: Fraunhofer, IEA, MDPI studies.

- Simulations: Model a German household with 10 kWp PV + hydrogen system vs. PV+battery.

- Policy Debates: "Should the German government subsidize residential hydrogen storage?"